A guide to opening a food service establishment in Detroit

All Food Service Establishments in Detroit are required to comply with City of Detroit Ordinances and with the Michigan Food Law, Act No. 92, Public Acts of 2000, which states in part:

“A person shall not operate a Fixed, Mobile Food Service Establishment, Special Transitory Food Unit (STFU), Temporary Food Service Establishment, or Vending Machine location in this State without a license issued and approved by the local health department. The owner or operator of a food service establishment shall notify the Institute for Population Health (IPH) before there is a change of ownership of an existing food service establishment. A food service license is not transferrable as to person or place.”

**Please note: Street Vending such as barbequing operations are illegal and subject to fines and code enforcement action.

When a Food Service Establishment is constructed or remodeled, or when an existing structure is converted for use as a Food Service Establishment, properly prepared plans and specifications shall be submitted to the Institute for Population Health for Plan Review and approval BEFORE construction, remodeling, or alterations begin.

In order to facilitate the approval of your State Food Service License and the City of Detroit, General Business License, which allow you to operate, please follow these steps:

- Zoning approval is required for all locations seeking approval to conduct a food service business. For information related to zoning, contact the Zoning Counter at (313) 224-0311. (Room 410, Coleman A. Young Municipal Center CAYMC).

- Scaled plans (1/4”=1ft.) and specifications must be approved by all necessary City Departments for newly constructed and remodeled establishments. The Building and Safety Engineering Department will issue you a routing schedule stamp for the various units that will review your plans. (Room 410, CAYMC Building).

- The Institute for Population Health’s Food Safety Office requires two (2) set of plans (drawings), two (2) copies of the Plan Review Application and Worksheet, a copy of your menu, Standard Operating Procedures (SOP’s) that is unique to your business, and a copy of your Food Manager Certification. Your plans must be approved by the Institute for Population Health BEFORE you begin construction, alterations, or remodeling of your establishment. Contact the Plan Review Office at (313) 309-9375 or use the following link to obtain a blank Plan Review Application and Plan Review Worksheet.

  - www.michigan.gov/mdard - Food & Agribusiness, Business Resources, How to Start a Business, How to Apply for a Food Service License, Plan Review.

- The City of Detroit General Business License is required for all food and/or beverage businesses in the City of Detroit. Contact the City of Detroit General Business Office at (313) 224-3178, Room 410 CAYMC Building for the City General Business License Application information. (Possession of this license is required before opening and operating your establishment.)

- Around 30 days before completion of the construction, alteration, or remodeling the owner must report to IPH’s department of Food Safety and apply for the food service license. Once construction is complete, the food service establishment shall contact the Plan Review Office (313) 309-9375 and arrange for a pre-opening inspection of the establishment.

If the establishment passes this inspection, the IPH will notify the City of Detroit General Business License Office that the establishment has received the IPH approval. The City of Detroit General Business License will be issued when all City inspection approvals are obtained.

- The State of Michigan Food Service License application will be forwarded to Lansing for printing. When the IPH – Food Safety Unit receives the license, it will be forwarded to the owner who shall post the license in a conspicuous location in the establishment for public viewing.

- Effective February 3, 2012, the City of Detroit, Michigan has discontinued the Food Handler Classes and now food handler permits are no longer required to work in local restaurants. Detroit food service establishments will be solely responsible for conducting food safety training to their employees.

- In January 2007, the State of Michigan enacted amendments to the Michigan Food Law of 2000 which now mandates that all food service establishments to employ a certified food manager. (Compliance with this ordinance will be reviewed at your pre-opening inspection.)

A full listing of resources for state endorsed certificates programs can be found on the Michigan Department of Agriculture’s website at: www.michigan.gov/mdard or www.foodsafety.gov. For further information call (313) 309-9375.

If you have any questions that may not have been answered in the above listed steps, please contact Food Safety at (313) 309-9375, or come to IPH Riverfront location, 1400 Woodbridge, Detroit, MI 48207.

** State Food Service License expires at midnight on April 30th of each year. Food Service Establishments shall submit the license renewal application and the necessary fees to the IPH prior to May 1st of each year.

**Remember, do not begin any work or purchase any equipment until your plans have been approved by all required City Departments, including IPH. Obtain all required approvals before you begin spending money.

**Failure to submit plans and receive approval of plans and specifications prior to opening are violations of the Michigan Food Law and the City of Detroit’s Municipal Ordinance. Legal action will be taken if you begin construction or operate the business without approved plans and/or the approved license.

Thank you for your cooperation.

INSTITUTE FOR POPULATION HEALTH

FOOD SAFETY

(313) 309-9375

|  | Food Establishment Plan Submission Instructions |
| --- | --- |

Congratulations!  You are proposing to build or remodel a food establishment in Detroit, Michigan.  Please submit your plan review package to the Food Safety Unit located at 1400 Woodbridge St., Detroit MI 48207. All of the following items must be completed and compiled into a single package or the plan review may get delayed as additional material is requested.  For further information, see the plan review manual which can be obtained at http://www.michigan.gov/mda .

1. Plan review application and any necessary plan review fees. (SEE FEE SCHEDULE)

2. Completed Plan Review Worksheet

Worksheet and guidance manual copies are available from any health department, MDA Regional Office or on the web at: http://www.michigan.gov/mda.

3. Menu

If your facility does not have a formal, set menu, such as a school with a rotating menu, submit representative sample menus or a list of foods offered for sale or service.

4. Standard Operating Procedures (SOP's)

SOP's appropriate to your operation shall be submitted prior to opening.  See the attached SOP instruction sheets.  (SEE SAFE FOOD SERVICE PAMPHLET FOR GUIDANCE)

5. One complete set of plans  (note: some local health departments require two sets of plans).  Provide

scaled plans (1/4” per foot is a normal, easy to read scale).  Show:

- Proposed layout, with equipment identified.  Label sinks and prep tables with their intended use.

- Mechanical plan (i.e. make-up air systems, air balance schedule and cooking ventilation systems: including hood, duct and exhaust fans).

- Plumbing: Sinks for handwashing, food preparation and dishwashing, dishmachines, hot and cold water outlets, hot water equipment, water heater, sewer drains, grease traps and floor drains / sinks.

- Construction materials of such items as custom cabinets and any other built-in items.

- Interior room finish schedules.

- Lighting plan, indicating which lights are shielded.

- Site Plan, including:

(Details of outside garbage storage area and containers, as well as exterior storage areas. (On-site water well and sewage disposal system data

6. Specifications

- Include manufacturer’s specifications for each piece of equipment.  Minimum information for each piece of equipment includes the following (note: the manufacturer's specification or "cut" sheet typically provides most of this information):

- Type

- Manufacturer

- Model number

- Dimensions

- Performance capacity

- Indicate how equipment will be installed (i.e. on leg or wheels, fixed or flexible utility connections)

- Indicate which items are used equipment and what equipment is NSF approved or equivalent.

- Sanitation Standard Operating Procedures (SSOP’S): Include any available cleaning and maintenance instructions for food processing, cutting and grinding equipment.

7. Flow Diagram

- Food Flow- Include Receiving, Storage, Prep Area and Sinks, Cooking, and Service

- Dish/Utensil flow- Include clean storage, flow of 3 compartment sink, clean storage

- Waste flow- Location of inside garbage cans, direction to the outside storage container.

|  | Food Establishment Plan Review Process |
| --- | --- |

*Agencies have the authority to issue a stop work order when construction begins before plans are approved.

Food Establishment

Plan Review Application

Meets the Michigan Food Law requirement for a transmittal letter to be submitted with the plans.

| Establishment Name: Address, City, Zip: Establishment Phone: Location Information: Prior Establishment Name: | _________________________________________________________ _________________________________________________________ _________________ Between ________________ & ________________ street _________________________________________________________ |
| --- | --- |

| Owner Name _________________________________ Address ______________________________ City, State _____________________________ Zip ______________ Phone # _____________ Fax # ____________ E-Mail _______________ | Food Service Equipment Supply Co. Name ________________________________ Address _____________________________ City, State____________________________ Zip ______________ Phone #____________ Fax # ____________ E-Mail ______________ |
| --- | --- |
| Architect Name _________________________________ Address ______________________________ City, State _____________________________ Zip ______________ Phone # _____________ Fax # ____________ E-Mail _______________ | General Contractor Name ________________________________ Address ______________________________ City, State ____________________________ Zip ______________ Phone # ____________ Fax # ____________ E-Mail ______________ |

Which of the above will serve as the primary contact?___________________________________

Which of the above should all correspondence be mailed to?_____________________________

Proposed construction start date: ____________ Proposed opening date: ____________

For reviewing agency use only:

| Fee $: ________________ | Check #: __________________ |
| --- | --- |
| Date: ________________ | Receipt #: _________________ |
| Plan Review #: _________ | Assigned to: _______________ |
| Remarks:_____________________________________________________________________ www.michigan.gov/mda, keyword: Food Plan Review - Industry |

General Information

Hours of Operation:______________________________________________________________

| Seating Capacity (include bar): ____________ | Facility Size (square feet): ________________ |
| --- | --- |
| Minimum staff per shift: __________________ | Maximum staff per shift: _________________ |

| These plans are for a: | ___ New establishment ___ Remodeling ___ Conversion | What describes the establishment better? ___ On-site Preparation ___ Serving Site |
| --- | --- | --- |

| Will part of the operation be outdoors (bar, dining, storage, cooking, etc.)? | ___ Yes ___ No |
| --- | --- |
| If yes, explain: __________________________________________________________________ |
| Type of Operation (check all that apply) |  |

| A. Restaurant Related |  |  |
| --- | --- | --- |
| ___ Sit down meals | ___ Commissary | ___ Buffet or salad bar |
| ___ Counter | ___ Church | ___ Tableside / display cooking |
| ___ Cafeteria | ___ Take out menu | ___ Hospital |
| ___ Fast food | ___ Catering | ___ Bottling alcoholic beverages |
| ___ Bar with food prep | ___ Mobile vendor | ___ Special transitory food unit |
| B. Grocery Related |  |  |
| ___ Grocery store | ___ Produce processing | ___ Wholesale foods |
| ___ Fresh Meat | ___ Smoked fish | ___ Repackage / processor of: |
| ___ Seafood / fish | ___ Bakery | _________________________ |
| ___ Deli | ___ Commissary | ___ Water bottling |
| ___ Ice production / packaging | ___ Self-service bulk items | ___ Bottling alcoholic beverages |
| ___ Produce | ___ Self-service baked goods |  |
| Please summarize the proposed project. ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |
| I certify that the plan review application package submitted is accurate to the best of my knowledge. |
| Signature of owner or representative | ________________________________ | Date _________ |
| Please print name and title here |  |

Food Safety Unit

Pages 6-10 ask structural and equipment questions that the operator may wish to have the contractor or architect complete. Refer to the food establishment plan review manual for technical assistance. The manual is available from your reviewing agency or by visiting www.michigan.gov/mda, keyword: Food Plan Review - Industry. Information contained in the plans may be referenced and does not have to be repeated in the worksheet (i.e. see plan sheet 3a, #6)

Food Manager Knowledge

Under the Michigan Food Law of 2000, retail food establishments are required to have a person in charge (PIC) during all hours of operation.

| 1. Check all that apply |  |
| --- | --- |
| ___ | A Certified food manager will be provided. (REQUIRED throughout Michigan by June 30, 2009.) Submit a copy of the managers certification or registration information for up coming class. | ___ | A written food safety (HACCP) plan will be provided.* (Only required under certain circumstances) |
| ___ | SOP's- I understand that standard operating procedures must be submitted and reviewed prior to opening if my establishment is new or remodeled with operation or menu changes. | ___ | Formal training program for new or existing staff will be provided.* (OPTIONAL) |
| ___ | There is a written policy that excludes or restricts food workers who are ill or have infected cuts or lesions.* (THIS IS NO LONGER OPTIONAL AND MUST BE PROVIDED.) | ___ | Animal based foods, such as meat, poultry, fish, shellfish or eggs served raw, or undercooked or not otherwise processed to eliminate pathogens.** |
| **If you checked this item, then the customer must be informed by means of a written disclosure, at the point of ordering, that a particular menu item contains raw or undercooked foods of animal origin and a reminder that identifies the increased risk of foodborne illness when consuming these foods. The disclosure and reminder must be made whether the food is normally prepared undercooked or is prepared undercooked only at the customer's order. Submit a copy of the disclosure and the reminder and state how it will be conveyed to the consumer. For further clarification please contact your reviewing health agency or read the consumer advisory guidance document at http://www.michigan.gov/mda, keyword: MFLeduc, |  |

Food Preparation Review See manual parts 1 & 3

| 2. How Will Potentially Hazardous Food be Thawed? (Check all that apply) |
| --- |
| Thawing Method | Foods less than 1” thick | Foods more than 1” thick |
| Refrigeration |  |  |
| Running water (less than 70ºF) |  |  |
| Microwave as part of cooking process |  |  |
| Cook from frozen |  |  |
| Other: |  |  |

| 3. Cooking & Reheating Potentially Hazardous Food: |
| --- |
| List all cooking & reheating equipment and check all applicable boxes. |
| Equipment Name | Cooking | Reheating | New | Used | NSF Approved or Equivalent |
| 4. Hot and Cold Holding of Potentially Hazardous Food |
| List all hot & cold holding equipment and check all applicable boxes. |
| Equipment Name | Hot Holding | Cold Holding | New | Used | NSF Approved Or Equivalent |
| Will ice be used as a refrigerant for potentially hazardous foods? ___Yes ___ No If yes, describe which foods will be held on ice, for how long, where this will occur and the source of the ice. ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |
| Will time be used for bacterial growth control, instead of hot or cold holding? ___Yes ___No If yes, submit a list of the foods involved and the standard operating procedures that will be used to monitor the use of time as a control. ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |

7. Cooling Potentially Hazardous Food: List foods that will be cooled using each of the following methods. Foods must be cooled to 41ºF within 6 hours (140ºF to 70ºF in 2 hours and 70ºF to 41ºF in 4 hours). More than one method may be used.

A. Shallow pans in refrigerator: _______________________________________________________

B. Ice baths: ______________________________________________________________________

C. Volume reduction (i.e. quartering a large roast): ________________________________________

D. Rapid chill devices (i.e. blast freezers): _______________________________________________

E. Ice paddles: ____________________________________________________________________

F. Other: _________________________________________________________________________

| 8. Food Preparation |
| --- |
| List foods that will be prepared a day or more in advance of service or sale. ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |
| B. How will employees avoid bare-hand contact with ready-to-eat foods? (Check all that apply) |
| ___ | Disposable gloves | ___ | Suitable utensils |
| ___ | Deli tissue | ___ | Other: __________________________ |
| C. Will produce be cleaned on-site? | ___ Yes ___ No |
| D. If C is yes, describe which sink(s) will be used for food preparation. ________________________________________________________________________________ ________________________________________________________________________________ |
| Date Marking: When potentially hazardous food is ready-to-eat and will be kept under refrigeration for more than 24 hours after preparation / opening, a last date of use must be placed on the item. |
| E. Describe the date marking system that will be used or provide written Standard Operating Procedures. |  |
| ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |

9. Catering/Off-Site/Satellite: complete if establishment will cater foods to another location.

List menu items to be catered: ________________________________________________________________________________ ________________________________________________________________________________ Maximum number of catered meals per day will be ____________________________________ How will hot food be held at proper temperature during transportation and at the remote serving location?______________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

9. Catering/Off-Site/Satellite Continued How will cold food be held at proper temperature during transportation and at the remote serving location?______________________________________________________________________ ________________________________________________________________________________ What types of vehicles will be used to transport food? ________________________________________________________________________________ ________________________________________________________________________________ What types of sneeze guards or food protection devices will be used? (See manual part 4) ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

_________________________________________________________________________________________

| Dishwashing See manual part 8 |
| --- |
| 10. Dishwashing methods (check all that apply) | ___ Dishmachine | ___ Sink |
| Dishwashing Sinks | Length (inches) | Width (inches) | Depth (inches) |
| A. Sink 1, Size of compartments |  |  |  |
| B. Sink 2, Size of compartments |  |  |  |
| C. Sink 3, Size of compartments |  |  |  |
| D. What is the largest item that will have to be washed in a sink and its size? |
| E. List the location of all garbage disposals: |
| General |
| 11. Will employee dressing rooms be provided? | ___ Yes | ___ No |
| 12. If no, describe how personal belongings will be stored: |
| 13. Check which of the following will be used on-site: | ___ Washer | ___ Dryer |
| 14. Describe what will be laundered on-site:_____________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |
| 15. What type of mop sink will be provided (i.e. curbed floor drain, mop sink on legs, etc)? See manual part 8. ________________________________________________________________________________________________________________________________________________________________ |

| Room Finish Schedules Fill in materials to be used (See manual part 10) |
| --- |
| Area | Floor | Coving* | Wall | Ceiling |
| 16. Preparation |  |  |  |  |
| 17. Cooking |  |  |  |  |
| 18. Dishwashing |  |  |  |  |
| 19. Food Storage |  |  |  |  |
| 20. Bar |  |  |  |  |
| 21. Dining |  |  |  |  |
| 22. Employee Restrooms |  |  |  |  |
| 23. Dressing Room |  |  |  |  |
| 24. Walk-In Refrigerator |  |  |  |  |
| 25. Walk-In Freezer |  |  |  |  |
| 26. Garbage Room |  |  |  |  |
| 27. Janitor Closet |  |  |  |  |
| 28. |  |  |  |  |
| 29. |  |  |  |  |
| 30. |  |  |  |  |

*List the material that will be used to provide a smooth, rounded and cleanable surface where the floor and wall joins.

Note: please explain abbreviations.

| Water Supply See manual part 5 |
| --- |
| 31. Will the water supply be: | ___Municipal | ___Existing on-site | ___New on-site |
| 32. If an on-site water supply is being used, is the local health department in the process of approving? | ___ Yes | ___ No* |

| Sewage Disposal See manual part 5 |
| --- |
| 33. Will the sewage disposal be: | ___ Municipal | ___Existing on-site | ___ New on-site |
| 34. If an on-site sewage system is being used, is the local health department or Michigan Department of Environmental Quality in the process of approving? | ___ Yes | ___ No* |
| * It is recommended that you contact your local health department to begin the approval process. |

| Insect and Rodent Control See manual part 13 |
| --- |
| 35. Will outside doors be self-closing? |  | ___ Yes | ___ No |
| 36. Will the facility have a drive-thru or walk-up window? |  | ___ Yes | ___ No |
| 37. If 36 is yes, describe how insects will be kept out (i.e. self-closer, air curtains, etc.) ________________________________________________________________________________ |
| 38. Are other openable windows screened? | ___ NA | ___ Yes | ___ No |
| 39. Will openings around pipes, electrical conduits, chases and other wall perforations be sealed? |  | ___ Yes | ___ No |
| 40. Will garage-style or loading bay doors be present? |  | ___ Yes | ___ No |
| 41. If 40 is yes, how will the loading doors be protected against vermin entry? ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |

Solid Waste Storage See manual part 17

| 42.Outside Storage |
| --- |
| A. What type of storage will be used?* | ___ Compactor* | ___ Dumpster* | ___ Cans |
| B. What type of surface will be under the container? _______________________________________ |
| C. What is the minimum pick-up frequency? _____________________________________________ |

*Remember to show details on site plan, including unit location and slope of surface under the unit.

| 43. Inside Storage |
| --- |
| Please SHOW locations of trash containers on floor plans and describe how garbage, boxes, etc. will be stored inside: ____________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |
| Describe any inside storage or cleaning area (i.e. garbage can cleaning area): ________________________________________________________________________________ ________________________________________________________________________________ |
| Will any compactors or dumpsters be located inside? If yes, show on plans. | ___ Yes | ___ No |
| Describe any area where damaged merchandise returned for credit to vendor will be stored: ________________________________________________________________________________ ________________________________________________________________________________ |
| Describe how waste grease will be handled and stored: ________________________________ ________________________________________________________________________________ ________________________________________________________________________________ |
| Describe how and where recyclables will be stored: ____________________________________ ________________________________________________________________________________ ________________________________________________________________________________ Check the types of materials that will be recycled: |
| ___ Glass | ___ Metal | ___ Paper | ___ Cardboard | ___ Plastic |
| Plumbing Cross-Connections See manual part 12 |
| The following technical information is needed on the proposed plumbing. This section is best completed by a qualified plumber, architect or engineer. Be sure to include all devices, equipment and fixtures that have cross-connection protection. Remember to complete both the water supply and waste side (i.e. a dishwasher may have an AVB on the water supply and an air-gapped drain). |
| Fixture | Sewage Disposal | Water Supply |
|  | Air Gap | Air Break | Direct Connect | AVB | PVB | RPZ | VDC | HB | Air Gap |
| 44. Dishwasher |  |  |  |  |  |  |  |  |  |
| 45. Glasswasher |  |  |  |  |  |  |  |  |  |
| 46. Garbage grinder |  |  |  |  |  |  |  |  |  |
| 47. Ice machines |  |  |  |  |  |  |  |  |  |
| 48. Ice storage bin |  |  |  |  |  |  |  |  |  |
| 49. Mop sink |  |  |  |  |  |  |  |  |  |
| 50. 3 compartment sink |  |  |  |  |  |  |  |  |  |
| 51. 2 compartment sink |  |  |  |  |  |  |  |  |  |
| 52. 1 compartment sink |  |  |  |  |  |  |  |  |  |
| 53. Steam tables |  |  |  |  |  |  |  |  |  |
| 54. Dipper wells |  |  |  |  |  |  |  |  |  |
| 55. Hose connections |  |  |  |  |  |  |  |  |  |
| 56. Refrigeration condensate drain lines |  |  |  |  |  |  |  |  |  |
| 57. Beverage dispenser with carbonator |  |  |  |  |  |  |  |  |  |
| 58. Water softener |  |  |  |  |  |  |  |  |  |
| 59. Potato peeler |  |  |  |  |  |  |  |  |  |
| 60. Walk-in floor drain |  |  |  |  |  |  |  |  |  |
| 61. Chinese range |  |  |  |  |  |  |  |  |  |
| 62. Detergent feeder on faucet |  |  |  |  |  |  |  |  |  |
| 63. Outside sprinkler or irrigation system |  |  |  |  |  |  |  |  |  |
| 64. Power washer |  |  |  |  |  |  |  |  |  |
| 65. Retractable hose reel |  |  |  |  |  |  |  |  |  |
| 66. Toilet |  |  |  |  |  |  |  |  |  |
| 67. Urinal |  |  |  |  |  |  |  |  |  |
| 68. Boiler |  |  |  |  |  |  |  |  |  |
| 69. Bain-marie |  |  |  |  |  |  |  |  |  |
| 70. Espresso machine |  |  |  |  |  |  |  |  |  |
| 71. Combi-style oven |  |  |  |  |  |  |  |  |  |
| 72. Kettle |  |  |  |  |  |  |  |  |  |
| 73. Rethermalizer |  |  |  |  |  |  |  |  |  |
| 74. Steamer |  |  |  |  |  |  |  |  |  |
| 75. Overhead spray rinse |  |  |  |  |  |  |  |  |  |
| 76. Hot water dispenser |  |  |  |  |  |  |  |  |  |
| 77. |  |  |  |  |  |  |  |  |  |
| 78. |  |  |  |  |  |  |  |  |  |
| AVB = atmospheric vacuum breaker | HB = hose bib vacuum breaker |
| PVB = pressure vacuum breaker | VDC = vented double check valve |
| RPZ = reduced pressure principle backflow preventer |  |

Formula Information

Several calculations are required to determine if there will be adequate hot water, ventilation, dry storage space and refrigerated storage space.  The information requested on the following two pages provides the necessary data for performing calculations.  See the plan review manual for formulas and directions.

79. Hot Water (see manual part 9)

| List each type of plumbing fixture that uses hot water | # fixtures |
| --- | --- |
| Handsinks |  |
| Bathroom Sinks |  |
| 1 Compartment Sink |  |
| 2 Compartment Sink |  |
| 3 Compartment Sink |  |
| Vegetable Sink |  |
| Overhead Spray Rinse |  |
| Bar Sink | ___ 3 compartment | ___ 4 compartment |  |
| Cook Sink |  |
| Hot Water Filling Faucet |  |
| Bain-marie |  |
| Coffee Urn |  |
| Kettle Stand |  |
| Garbage Can Washer |  |
| 9 & 12 lb. Clothes Washer |  |
| 16 lb. Clothes Washer |  |
| Employee Shower |  |
| Mop Sink |  |
| Dishmachine ___ hot water ___ chemical Dishmachine Make & model: ______________________ |  |
| Other: |  |
| Other: |  |

| 80. Water Heater #1 | Manufacturer:___________________ | Model number:____________ |
| --- | --- | --- |
| A. Hot water heater proposed size: | Electric __________ KW |  |
| Gas | __________ BTU’s | Thermal Efficiency:______% |
| B. Hot water heater storage capacity: | ________ gallons |  |
| C. Hot water heater recovery rate: | ________ gallons per hour | (@100º rise) |

Attach information for any additional water heaters. Specify what area each water heater services and whether or not units will be installed in parallel.

| 81. Do hot water heater(s) serve any non-food equipment areas? If yes describe:_______________ ________________________________________________________________________________ ________________________________________________________________________________ |
| --- |
| 82. Dishmachine Booster Heater | ____ KW | ____ BTU | Make ________ | Model # ______ |

# 83. Refrigerated and Dry Food Storage (see manual parts 3 & 7)

It is essential that a reliable estimate be made of the number of customers that are served or buy food between deliveries, in order to calculate dry and refrigerated storage capacities.

| A. # meals or people served per day = | __________ |
| --- | --- |
| B. # days between deliveries = | Dry Food ________ | Refrigerated Items _______ |
| C. # meals between deliveries (AxB =) | Dry Food ________ | Refrigerated Items _______ |

83. (cont'd.) Please describe any assumptions made in determining the meal quantity estimate: ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

# 84. Refrigerated Storage (see manual part 3)

| Walk-in Item # | **Interior Usable Height (ft) | Interior Length (ft) | Interior Width (ft) |
| --- | --- | --- | --- |

| *Upright Item # | Interior Depth (in) | Interior Width (in) | Interior Height (in) |
| --- | --- | --- | --- |
| *Working, preparation and line refrigerators should not be included. Only storage units. |

# 85. Dry Storage (see manual part 7)

Storage Rooms*

| **Usable room height (ft) | Interior Length (ft) | Interior Width (ft) |
| --- | --- | --- |

*Please note the location of any auxiliary storage (i.e outside storage).

**To determine usable height, determine height from floor to ceiling, then subtract height of food off floor (usually 6”) and height of food from ceiling (usually 12-18”).

# Or if there is no dry storage room proposed

For full height shelves

| Total Shelving Length (ft) | Shelving Width (ft) |
| --- | --- |

# 86. Ventilation Air Balance Schedule (see manual part 15)

| Make-up air unit # | CFM* | Ventilation exhaust hood # or name | CFM* |
| --- | --- | --- | --- |
|  |  | Toilet exhaust |  |
|  |  | Other exhaust |  |
| Total Make-Up Air |  | Total Exhaust |  |

*CFM=cubic feet per minute

Suggestion Sheet Food Establishment Plan Review Worksheet

Suggestions for changes to this plan review worksheet are welcomed from all users (i.e. food service operators, architects, engineers and regulators, etc.).  Revisions to documents are made periodically as needed.  Thank you for taking the time to submit your ideas.

Name:	_____________________	Phone: ________________ Fax: _____________

Address: ___________________________________________________________

City, State, Zip: ______________________________________________________

E-mail: ______________________

Submit to:

Plan Review Specialist

Food Service Sanitation Section

Food & Dairy Division

Michigan Department of Agriculture

PO Box 30017

Lansing, MI. 48909

Fax: 517-373-3333

E-mail: beseyk@michigan.gov

For suggested changes, please list section specific location in document.  You may list your suggestions below or attach separate sheets.  Please be specific and clear.

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

|  | Food Establishment Standard Operating Procedures |
| --- | --- |

Who must have standard operating procedures?

- All new food establishments, except vending locations.

- Remodeled food establishments that change menu or operation.

# What are standard operating procedures?

- Procedures specific to your operation that describe the activities necessary to complete tasks in accordance with the Food Code. The procedures are used to train the staff members responsible for the tasks.

- Three purposes for establishing SOP's for your operation are: to protect your products from contamination from microbial, chemical, and physical hazards; to control microbial growth that can result from temperature abuse; and to ensure procedures are in place for maintaining equipment.

Why must procedures be submitted?

- Michigan's food law requires standard operating procedures to be established prior to opening.

How must procedures be developed?

- Procedures are mostly for use by managers and employees.  Develop procedures in the language, style and format best for the establishment.  An English copy of the procedures is needed for the plan reviewer.

- For those that need assistance, see the help section.

What procedures must all establishments submit?

- Handwashing.

- Personal hygiene, including cuts and sores.

- Preventing bare hand contact with ready-to-eat food (gloves, utensils, etc.).

- Employee illness.

- Purchasing food from approved sources.

- Cleaning and sanitizing food contact surfaces.

What procedures must all establishments submit when applicable to their operation?

- Cross-contamination prevention.

- Warewashing.

- Date-marking ready-to-eat, potentially hazardous food.

- Using time only (not time and temperature) as a method to control bacterial growth.

- Time and temperature control for thawing potentially hazardous food.

- Time and temperature control for cooking potentially hazardous food.

- Time and temperature control for cooling potentially hazardous food.

- Time and temperature control for reheating potentially hazardous food.

- Time and temperature control for hot holding potentially hazardous food.

- Time and temperature control for cold holding potentially hazardous food.

- Special transitory food units (SFTU's) only- water supply.

- Special transitory food units (SFTU's) only- wastewater disposal.

Once procedures are developed, where should they be sent and what happens to them?

- Procedures should be sent to the agency reviewing the plans as soon as they are ready.

- Procedures can be sent with the plans or may be sent later.

- Technically correct procedures must be in place by the pre-opening inspection.

- Plan reviewers will make sure the information in the procedures is correct.  Be sure to leave enough time to make corrections.  Contact your plan reviewer for help.

- Procedures should be kept on-site and used by the person in charge and employees.

INSTITUTE FOR POPULATION HEALTH

FOOD SAFETY

1400 Woodbridge St.

Detroit, MI 48207

313-309-9375

*FOOD SERVICE LICENSE FEE SCHEDULE

Effective March 21, 2011 / Revised March 2, 2015

I.    FIXED FOOD SERVICE ESTABLISHMENTS**			     SERVICE FEE

(Restaurants, Bars, Taverns, etc.)

A.  0 to 50 seats (Catering and carry-out)						$425.00

B.  51 to 100 seats									$475.00

C.  > 100 seats									$575.00

D.  Banquet Hall w/Kitchen, Commissary, Base Kitchen			$500.00

E.  Schools									$225.00

II.  MOBILE AND VENDING FOOD 					     SERVICE FEE

SERVICE ESTABLISHMENTS					     Money Order or

Cashier Check Only

- Mobile Food Preparation Units						$425.00

(Hot Truck, Soft Ice Cream, Commissary)

- Mobile Food Package (Industrial Caterer)					$225.00

- Push Cart (Hotdog, coffee, and prepackaged food)				$225.00

- Vending (per Machine)						   	$60.00

E.   STFU										$156.00

**State of Michigan Food of 2000 as amended requires that all of the above fixed and mobile food service establishments are inspected every six months

Unlicensed Application Penalty (operating without a Food Service License)	$500.00

III. CITY OF DETROIT LICENSE INSPECTION			     SERVICE FEE

Money Order or

Cashier Check Only

- Street Vendor License (non-state licensed)					$225.00

(Prepackaged Ice Cream, Whole, Uncut Fruits and Vegetables, etc)

- Religious/Fraternal/Non-Profit Org.					     50% of Proposed

seating cost

IV.  OTHER FOOD SANITATION SERVICE FEES			     SERVICE FEE

A. Ownership Change Inspection				     100% Annual License Fee

B. Second Re-inspection & Subsequent Re-inspection				$50.00

C.  Late State License Renewal (Due April 30)				  See Schedule below

Before May 1		$    0.00

May 1 – May 31		$150.00

June 1 – June 30		$300.00

July 1 – July 31		$450.00

August 1 or later		$600.00

D. Temporary Food Permit (Money Order or Cashier’s Check Only)	$250.00

(Temporary Food applications received 4 days or less prior to event $500.00)

E.  Plan Review								   See the Plan Review

Schedule

ADDITIONAL FEE SCHEDULE INFORMATION

- The routine inspection service fee includes, if necessary, one re-inspection. Establishments requiring additional re-inspections will be assessed $50.00 per inspection

- Where separate areas for food service or preparation are located in one building under the same management (e.g. Stadium), the service fee shall reflect each food or drinking service area.

- Civic organizations and non-profit organizations feeding seniors, and the homeless may be fully exempt from paying for the State of Michigan food service license.

- Religious, fraternal, service, or other non-profit organizations are required to provide evidence of tax exempt status and shall pay fifty percent (50%) of the required fee.

*PLAN REVIEW FEE SCHEDULE

Effective March 21, 2011 / Revised March 2, 2015

City of Detroit Ordinances 22-92, 25-92, and State of Michigan Public Act 92, require plan review service fees for all newly constructed, remodeled, or altered food service establishments, including ventilation and cooking equipment changes.  Your plan review fee includes an approval report, one on-site consultation, and a pre-opening inspection.  Fees must be paid to the Institute for Population Health by money order or certified check (no personal checks or cash).  Plan Review Fees are not refundable.  Listed below are the current fees:

FIXED FOOD SERVICE ESTABLISHMENTS				     	    FEE

0  to   50 seats									$1,000.00

51  to  100 seats									$1,150.00

101 to 150 seats									$1,550.00

More than 150 seats (Including Banquet Halls and Commissaries)			$1,550.00

Stadiums, Base Kitchen								VARIABLE

Multi-Satellite Locations (M.S.L.) *Per Additional				           *($510.00)

NON-FIXED FOOD ESTABLISHMENTS					    FEE

Mobile Preparation Units								$   675.00

Mobile Pre-Packaged Units and Pushcarts						$   410.00

PARTIALLY RENOVATED FOOD ESTABLISHMENTS			    FEE

Addition of Equipment / Renovation / Remodeling 					$   575.00

OTHER SERVICES									    FEE

Review of Revised Plans								$1,100.00

Additional Pre-Opening Evaluation (after 2 inspections)				$   575.00

Pre-Plan Review or Consultation							$   175.00

Illegal Construction (Prior to Paperwork Approval)		          Original Fee plus

100% Penalty

Application for food service license less than                   		Additional	$   100.00

thirty (30) calendar days before the date of opening

Sec. 4103 (1) An applicant shall submit an application for a food establishment license at least thirty (30) calendar days before the date planned for its opening, the change of ownership, or the expiration of the current license.

*Effective October 1, 2012, payment of inspection fees or any other licensing requirements

should be made payable to the Institute for Population Health.

# Text boxes

1400 Woodbridge St.

Detroit, Michigan 48207

Phone   313-309-9375

Fax       313-309-6488 www.ipophealth.org

President/CEO

Loretta V. Davis, MSA

Officers

Adrienne Hinnant-Johnson, Esq.

Board Chair

Jeffrey Hausman

Vice Chair

Elmer Cerano

Secretary/Treasurer

Board Members

Stephen Bancroft

James Blessman, MD, MPH

Joy Calloway

Lisa Carter

Lila Lazarus

Harold J. Love, M.A., LLPC

Bertram L. M arks, Esq. D. Min.

Juliana Perry

Kendra Schwartz, MD, MSPH

# Establishment

Name:   ____________________________________

Address:____________________________________

____________________________________

City, State, Zip:__Detroit, MI___________________________

Food Establishment Plan Review       Worksheet

To be completed by the operator and submitted to the local health department

or Michigan Department of Agriculture regional office that will be conducting the

plan review.

In Accordance with:

Michigan   Department of Agriculture

# Food & Dairy Division

Michigan Department of Agriculture

PO Box 30017

Lansing, MI 48909

## Ph: (517) 373-1060

www.michigan.gov/mda